## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
70 Park Terrace
Swalwell
Newcaste Upon Tyne
NE16 3BU
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-44899
DATE OF REPORT: 03/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44899
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 70 Park Terrace
Swalwell
Newcaste Upon Tyne
NE16 3BU
Carried Out On | 03/04/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44899
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A YES Existing Cylinder & Tanks - Y or N/A NOT REQUIRED Existing Flue Run - Y or N/A YES Existing Controls- Y or N/A YES Stop Tap - Y or N/A NO Gas Meter- Y or N/A YES Distribution Board - Y or N/A YES Existing Condensate - Y or N/A INTERNAL YES New Condensate Termination- Y or N/A SAME POSTION Existing PRV Termination - Y or N/A INTERNAL New PRV Termination - Y or N/A SAME POSITION Smoke Alarms - Y or N/A YES Co2 Alarms - Y or N/A YES Existing poor condition radiators – Y or N/A YES Scaffolding location - Y or N/A YES Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) – 1ST FLOOR FLAT Existing Loft insulation thickness in mm (Example “200mm”) - 220MM Smoke Alarm Locations - KITCHEN /HALL Co Alarm Location -KICTHEN HALL Distribution Pannel Location - STAIRWAY Existing heating control location - HALL Existing supply (Natural Gas / LPG / Oil) - NATURAL GAS Solar Thermal (Yes / No) NO Existing Boiler Make & Model -POTTERTON PROMAX COMBI Existing Boiler serial number - NO SERIAL NUMBER Existing Boiler Location - LIVING ROOM CUPBOARD Existing Boiler Type (Combi / Heat Only / System boiler) - COMBI Install Type (Full Heating / Conversion / Boiler Replacement) - FULL HEATING New Boiler Location -SAME AS EXSISTING Stand off kit required -NO New Flue (Horizontal / Vertical) -VERTICAL Flue Materials Required -VERTICAL FLUE ,4 X EXTENSIONS , 2 X 45 DEGREE BENDS , ROOF FLASHING , FLUE PIPE CLIPS X4 Scaffolding required - YES Gas Meter location (Internal / External) - INTERNAL Stop tap location - KITCHEN Stop tap working (Yes / No) - YES Existing condensate termination location - INTERNAL POSSIBLY New Condensate termination location - PUMPED TO A WASTE PIPE IN KITCHEN OR BATHROOM Condensate materials required - OVERFLOW PIPE AND FITTING , STRAP ON BOSS, Condensate Pump (Yes / No) -YES Pressure relief termination location - EXTERNAL Number of Bathrooms -1 Number of thermostatic Showers -BATH MIXER SHOWER Number of electric Showers -NONE Total number of existing radiators -6 Current Cooker (Gas / Electric) - GAS Current Fire (Gas / Electric) –ELECTRIC Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -15MM Existing Pipework type (Copper / Speed fit / Hep) -COPPER Is Speed fit / Hep Barrier protected (Yes / No) - NO Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 15MM Existing TRVS installed (Yes / No) -YES Existing double lock shield radiator (Yes / No) - YES Talon Trunking requirements –YES 18 X 3METER LENGTHS OF DOUBLE 15 MM TRUNKING PLUS CORNERS AND END CAPS Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size -1150 X540 DOUBLE Room Length x Width x Height (In meters) -4.2 X 3.9 X2.8 Max New size if applicable - Existing Kitchen Rad Size -940 X 700 SINGLE Room Length x Width x Height (In meters) - 3.1X 1.7 X2,8 Max New size if applicable - Existing Hall Rad Size -730 X 530 Room Length x Width x Height (In meters) - 2.0 X 3.5X2.8 Max New size if applicable - Existing Bathroom Rad Size - 730 X 450 SINGLE Room Length x Width x Height (In meters) - 2.9 X 2.5X 2.8 Max New size if applicable - Existing Bed 1 Rad Size -1360 X 450 DOUBLE Room Length x Width x Height (In meters) -3.9 X 4.2 X 2.8 Max New size if applicable - Existing Bed 2 Rad Size -840 X 700 SINGLE Room Length x Width x Height (In meters) - 2.0 X 3.5 X 2.8 Max New size if applicable - Any Other notes PIPE WORK RAN IN TO LOFT THEN ON DROPPERS DOWN TO EACH ROOM WITH TRUNKING . OR FOLLOW EXSISTING SYSTEM WHERE IT IS UNDER FLOORBOARDS TO ALL ROOMS.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44899
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44899
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44899
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44899
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44899
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes