## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
66 Beaconsfield Street
Newcastle upon Tyne
NE4 5JN
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-44902
DATE OF REPORT: 05/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44902
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 66 Beaconsfield Street
Newcastle upon Tyne
NE4 5JN
Carried Out On | 05/04/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44902
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A YES Existing Cylinder & Tanks - N/A Existing Flue Run - Y or N/A YES Existing Controls- Y or N/A YES Stop Tap - Y or N/A YES Gas Meter- Y or N/A YES Distribution Board - Y or N/A YES Existing Condensate - Y or N/A YES New Condensate Termination- Y or N/A SAME PLACE Existing PRV Termination - Y or N/A YES New PRV Termination - Y or N/A YES Smoke Alarms - Y or N/A YES Co2 Alarms - Y or N/A YES Existing poor condition radiators – Y or N/A YES Scaffolding location - Y or N/A YES Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) – FLAT Existing Loft insulation thickness in mm (Example “200mm”) - 200MM Smoke Alarm Locations -HALL /KITCHEN Co Alarm Location -KITCHEN Distribution Pannel Location - HALL Existing heating control location -HALL Existing supply (Natural Gas / LPG / Oil) -NATURAL GAS Solar Thermal (Yes / No)NO Existing Boiler Make & Model -REMEHA AVANTA 28 C ECO Existing Boiler serial number -0930307627260 Existing Boiler Location -KITCHEN Existing Boiler Type (Combi / Heat Only / System boiler) -COMBI Install Type (Full Heating / Conversion / Boiler Replacement) -FULL HEATING New Boiler Location -KITCHEN Stand off kit required -NO New Flue (Horizontal / Vertical) -HORIZONTAL Flue Materials Required -HORIZONTAL FLUE Scaffolding required -YES Gas Meter location (Internal / External) -INTERNAL DOORWAY Stop tap location -KITCHEN Stop tap working (Yes / No) -YES Existing condensate termination location -INTERNAL TO WASTE PIPE IN KITCHEN New Condensate termination location - SAME POSTION Condensate materials required -OVERFLOW PIPE AND FITTINGS Condensate Pump (Yes / No) -NO Pressure relief termination location -EXTERNAL WALL Number of Bathrooms -1 Number of thermostatic Showers -1 Number of electric Showers -0 Total number of existing radiators -7 Current Cooker (Gas / Electric) -GAS Current Fire (Gas / Electric) –ELECTRIC Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -15MM Existing Pipework type (Copper / Speed fit / Hep) -COPPER Is Speed fit / Hep Barrier protected (Yes / No) -NO Existing Rad Valve Sizes (8mm / 10mm / 15mm) -15MM Existing TRVS installed (Yes / No) -YES Existing double lock shield radiator (Yes / No) -YES Talon Trunking requirements –NO Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size -1140 X 500 DOUBLE Room Length x Width x Height (In meters) -4.4 X 3.5 X 2.8 Max New size if applicable - Existing Kitchen Rad Size -600 X 600 DOUBLE Room Length x Width x Height (In meters) -2.2 X3.1 X2.8 Max New size if applicable - Existing Hall Rad Size -530 X 700 DOUBLE Room Length x Width x Height (In meters) -3.0 X 2.9 X 2.8 Max New size if applicable - Existing Dining Room Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bathroom Rad Size -740 X 700 SINGLE Room Length x Width x Height (In meters) -1.3.X 2.4X 2.8 Max New size if applicable - Existing Bed 1 Rad Size -940 X 500 DOUBLE Room Length x Width x Height (In meters) -4.5X4.4X2.8 Max New size if applicable - Existing Bed 2 Rad Size -1340 X 500 DOUBLE Room Length x Width x Height (In meters) -4.5X4.4X2.8 Max New size if applicable - Existing Bed 3 Rad Size -1000 X600 SINGLE Room Length x Width x Height (In meters) -3.4X3.0X2.8 Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Any Other notes

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44902
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44902
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44902
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44902
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44902
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes