## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
315 Beaconsfield Street
Newcastle upon Tyne
NE4 5JS
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-44904
DATE OF REPORT: 16/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44904
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 315 Beaconsfield Street
Newcastle upon Tyne
NE4 5JS
Carried Out On | 05/04/2024, 16/04/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44904
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - y Existing Cylinder & Tanks -NA Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- Y Existing PRV Termination - Y New PRV Termination - Y Smoke Alarms - Y Co2 Alarms - Y Existing poor condition radiators – Y Scaffolding location - NO Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –FLAT Existing Loft insulation thickness in mm (Example “200mm”) -NA Smoke Alarm Locations -HALL Co Alarm Location -HALL / KITCHEN Distribution Pannel Location -HALL Existing heating control location -HALL /L ROOM Existing supply (Natural Gas / LPG / Oil) -NATURAL Solar Thermal (Yes / No)NO Existing Boiler Make & Model -BAXI 105 HE Existing Boiler serial number -ACK101680097AB Existing Boiler Location -L ROOM Existing Boiler Type (Combi / Heat Only / System boiler) -COMBI Install Type (Full Heating / Conversion / Boiler Replacement) - New Boiler Location -L ROOM Stand off kit required -NO New Flue (Horizontal / Vertical) -HORIZONTAL Flue Materials Required -4 EXTENSIONS AND 1 EXTRA ELBOW Scaffolding required -NA Gas Meter location (Internal / External) -INTERNAL Stop tap location -KITCHEN Stop tap working (Yes / No) YES- Existing condensate termination location -EXTERNAL TO DRAIN New Condensate termination location -SAME POSITION Condensate materials required -32MM CONDENSATE PIPE AND FITTINGS Condensate Pump (Yes / No) -NO Pressure relief termination location -EXTERNAL Number of Bathrooms -1 Number of thermostatic Showers -1 Number of electric Showers -0 Total number of existing radiators -5 Current Cooker (Gas / Electric) -ELECTRIC Current Fire (Gas / Electric) –ELECTRIC Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -15MM Existing Pipework type (Copper / Speed fit / Hep) -COPPER Is Speed fit / Hep Barrier protected (Yes / No) -NA Existing Rad Valve Sizes (8mm / 10mm / 15mm) -15MM Existing TRVS installed (Yes / No) -YES Existing double lock shield radiator (Yes / No) -TYES Talon Trunking requirements –NO Only complete radiators if existing are poor condition or a full heating replacement

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44904
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44904
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44904
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44904
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44904
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes