## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
124 Cartington Terrace
Newcastle Upon Tyne
NE6 5SJ
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-44907
DATE OF REPORT: 05/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44907
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 124 Cartington Terrace
Newcastle Upon Tyne
NE6 5SJ
Carried Out On | 05/04/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44907
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A YES Existing Cylinder & Tanks - Y or N/A NA Existing Flue Run - Y or N/A YES Existing Controls- Y or N/A YES Stop Tap - Y or N/A YES Gas Meter- Y or N/A YES Distribution Board - Y or N/A YES Existing Condensate - Y or N/A YES New Condensate Termination- Y or N/A YES Existing PRV Termination - Y or N/A YES New PRV Termination - Y or N/AYES Smoke Alarms - Y or N/A YES Co2 Alarms - Y or N/A-YES Existing poor condition radiators – YES Scaffolding location - NO Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –FLAT Existing Loft insulation thickness in mm (Example “200mm”) -NA Smoke Alarm Locations -HALL/ KITCHEN Co Alarm Location - KITCHEN Distribution Pannel Location -HALL CUPBOARD Existing heating control location - LIVING ROOM Existing supply (Natural Gas / LPG / Oil) -NATRUAL GAS Solar Thermal (Yes / No) NO Existing Boiler Make & Model -POTTERTON PROMAX COMBI 28 Existing Boiler serial number -AWA081410396BC Existing Boiler Location -KITCHEN Existing Boiler Type (Combi / Heat Only / System boiler) -COMBI Install Type (Full Heating / Conversion / Boiler Replacement) -FULL HEATING New Boiler Location -KITCHEN Stand off kit required -NO New Flue (Horizontal / Vertical) -HORIZONTAL Flue Materials Required -1 X FLUE EXTENSION 2 X 45DEGREE BENDS Scaffolding required -NO Gas Meter location (Internal / External) -DOOR WAY Stop tap location -KITCHEN Stop tap working (Yes / No) YES- Existing condensate termination location -INTERNAL TO WASHINGMACHINE WASTE New Condensate termination location - SAME LOCATION Condensate materials required -OVERFLOW PIPE AND FITTINGS AND 40 MM TO 21MM REDUCER Condensate Pump (Yes / No) -NO Pressure relief termination location -EXTERNAL WALL Number of Bathrooms -1 Number of thermostatic Showers - THERMOSTATIC BATH MIXER SHOWER Number of electric Showers -0 Total number of existing radiators -5 Current Cooker (Gas / Electric) -GAS Current Fire (Gas / Electric) –ELECTRIC Any Other notes Valves & Pipework Existing Pipe work size (15mm) - Existing Pipework type (Copper / Speed fit / Hep) - COPPER Is Speed fit / Hep Barrier protected (Yes / No) -NO Existing Rad Valve Sizes 15 MM Existing TRVS installed (Yes / No) - YES Existing double lock shield radiator (Yes / No) -YES Talon Trunking requirements –NO Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size -1360X540 DOUBLE Room Length x Width x Height (In meters) -3.8X4,.4X3 Max New size if applicable - Existing Kitchen Rad Size -740 X700 DOUBLE Room Length x Width x Height (In meters) -4.5X2.3X3 Max New size if applicable - Existing Hall Rad Size -940 X600 SINGLE Room Length x Width x Height (In meters) -3.7 X1.0 X3 Max New size if applicable - Existing Dining Room Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bathroom Rad Size -700 X540 SINGLE Room Length x Width x Height (In meters) -2.1X1.5X3 Max New size if applicable - Existing Bed 1 Rad Size -700 X700 SINGLES TWO OF THESE IN SAME ROOM Room Length x Width x Height (In meters) -3.6X3.6X3 Max New size if applicable - Any Other notes LAMINATE FLOORING THROUGHOUT PROPERTY

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44907
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44907
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44907
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44907
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44907
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes