## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
44 The Dene
Consett
County Durham
DH8 6PS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-44973
DATE OF REPORT: 03/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-44973
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 44 The Dene
Consett
County Durham
DH8 6PS
Carried Out On | 03/04/2024
Survey Completed By | Billy Bell
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-44973
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks - N/A Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- Y Existing PRV Termination - Y New PRV Termination - Y Smoke Alarms - Y Co2 Alarms - Y Existing poor condition radiators – N/A Scaffolding location - N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) – Bungalow Existing Loft insulation thickness in mm (Example “200mm”) - 200mm Smoke Alarm Locations - Living room, Hall Co Alarm Location - Living room Heat Alarm Location - Kitchen Distribution Pannel Location - Dining room Existing heating control location - Hall Existing supply (Natural Gas / LPG / Oil) - N Gas Solar Thermal (Yes / No) No Existing Boiler Make & Model - Vaillant Ecotec28 Existing Boiler serial number - Existing Boiler Location - Living room cupboard Existing Boiler Type (Combi / Heat Only / System boiler) - Combi Install Type (Full Heating / Conversion / Boiler Replacement) - Combi swap New Boiler Location - same Stand off kit required - No New Flue (Horizontal / Vertical) - Horizontal Flue Materials Required - Standard flue Scaffolding required - No Gas Meter location (Internal / External) - External Stop tap location - Bathroom Stop tap working (Yes / No) - Yes Existing condensate termination location - External Soakaway New Condensate termination location - Same Condensate materials required - overflow reducer Condensate Pump (Yes / No) - No Pressure relief termination location - External side Number of Bathrooms - One Number of thermostatic Showers - One Number of electric Showers - None Total number of existing radiators - Six Current Cooker (Gas / Electric) - Electric Current Fire (Gas / Electric) – None Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - 10mm Existing Pipework type (Copper / Speed fit / Hep) - Hep Is Speed fit / Hep Barrier protected (Yes / No) - Yes Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 10mm Existing TRVS installed (Yes / No) - Yes Existing double lock shield radiator (Yes / No) - Yes Talon Trunking requirements – None Only complete radiators if existing are poor condition or a full heating replacement Hall - 5.0 x 1.0 x 1.5 Front door - 0.8 x 1.8 Existing rad - 600 x 800 dpx New rad - 600 x 800 dpx

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-44973
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44973
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44973
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44973
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-44973
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes