## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Hill Side Road
Bradford
BD3 0BZ
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 24-45000
DATE OF REPORT: 07/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45000
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | One Stawberry Lane
Newcastle upon Tyne
NE1 4BX
Site Address | 4 Hill Side Road
Bradford
BD3 0BZ
Carried Out On | 04/04/2024
Survey Completed By | Matthew Wall
SECTION 2: Introduction
Planned survey for boiler replacement - tenant said boiler may have been replaced in Novemember last year please get evidence of this

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45000
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks - N/A Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- Y Existing PRV Termination - Y New PRV Termination - Y Smoke Alarms - Y Co2 Alarms - Y Existing poor condition radiators – Y Scaffolding location - no Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –house Existing Loft insulation thickness in mm (Example “200mm”) - 250mm Smoke Alarm Locations -hall Co Alarm Location - none Distribution Pannel Location - entrance Existing heating control location - hall Existing supply (Natural Gas / LPG / Oil) - natural gas Solar Thermal (Yes / No)no Existing Boiler Make & Model -ideal logic c30 Existing Boiler serial number -22830800047011 Existing Boiler Location - kitchen Existing Boiler Type (Combi / Heat Only / System boiler) - combi Install Type (Full Heating / Conversion / Boiler Replacement) - full heating New Boiler Location - same Stand off kit required - yes New Flue (Horizontal / Vertical) - vertical Flue Materials Required - 2x elbow 3 x ext Scaffolding required -no Gas Meter location (Internal / External) external Stop tap location - kitchen Stop tap working (Yes / No) -yes Existing condensate termination location -internal New Condensate termination location - same Condensate materials required -na Condensate Pump (Yes / No) -no Pressure relief termination location - through wall Number of Bathrooms -2 Number of thermostatic Showers -1 Number of electric Showers -1 Total number of existing radiators -10 Current Cooker (Gas / Electric) -gas Current Fire (Gas / Electric) –none Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -10mm Existing Pipework type (Copper / Speed fit / Hep) -hep Is Speed fit / Hep Barrier protected (Yes / No) -yes Existing Rad Valve Sizes (8mm / 10mm / 15mm) -10mm Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) -yes Talon Trunking requirements –na Only complete radiators if existing are poor condition or a full heating replacement Hall Rad size 700 x 600 Max size 700 x 700 dpx Room size 1.3m x 5m x 2.3 Floor Concreate Lounge Rad size 1500 x 300 Max size 1500 x 450 dpx 4.1m x 4.5 x 2.3 Floor concrete Kitchen Rad size 900 x 700 Max size 900 x 700 dpx Room size 3.2 x 4.5 x2.3 Floor Co concrete Down stairs wc Rad size 600 x 600 Max size 600 x 600 dpx 2m x 3.8m x2.3m Floor concrete Hall Rad size 600 x 600 Max size 600 x 700 1.6 x 3.7 x 2.3 Floor concrete Bed down stairs Rad size1200 x 600 Max Rad size 1200 x 600 2.4 x 2.8m x 2.3 Floor concrete Bed 1 Rad size 500 x 500 Max size 500 x 500 dpx 2.1m x 3.4m x 2.3m Floor boards room Below Bed 2 Rad size 600 x 600 Max Rad size 600 x 00 dpx Room size 2.3 x 3.5 x 2 3 Floor boards Room below Bed 3 Rad size 600 x 600 Max Rad size 600 x 600 dpx Room size 2.8 x 4.3 x 2.3 Floor boards Room below Bathroom Rad size 700 x 600 Max size 700 x 700 dpx 2.2. 3.4 m x 2.3m Floor boards Room below

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45000
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45000
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45000
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45000
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45000
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes