## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Tamar Court ( Flat 18 )
Tamar Close
North Shields
NE29 8QR
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-45033
DATE OF REPORT: 05/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45033
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Tamar Court ( Flat 18 )
Tamar Close
North Shields
NE29 8QR
Carried Out On | 03/04/2024
Survey Completed By | Graham Parker
SECTION 2: Introduction
water supply in their property tastes like salt/sea water. - Please do some water sampling tests urgently on the hot and cold.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45033
SECTION 3: Report
Checked all outlets on the hot and cold services. Found the cold water tasted ok. But on the hot water side when this was run there was like a coal tar aroma with it. I also tasted a little and was not very pleasant. I checked the expansion vessels of the calorifiers but were fine as maybe a bladder could have deteriorated and started to decompose. Could we arrange for clear flow to make a visit for a water analysis test. The whole building is affected by this issue. Tenants are saying there showering experiences are not pleasant as well as general washing

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45033
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45033
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45033
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45033
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45033
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes