## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
21 St James Court
Consett
DH8 5YJ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-45084
DATE OF REPORT: 03/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45084
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 21 St James Court
Consett
DH8 5YJ
Carried Out On | 03/04/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
Boiler is still giving readings out of tolerance

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45084
SECTION 3: Report
Tested the boiler a couple of times and got varying readings. First time high ratio of 0.0006 co of 54 and co2 8.7 Low ratio of 0.0017 co of 159 and co2 9.4 Second time high ratio 0.0010 co of 87 and co2 of 8.5 Low ratio 0.0014 co of 135 and co2 of 9.6 Third reading high ratio 0.0009 co 77 and co2 8.5 Low ratio 0.0022 co of 197 and co2 8.8 Pictures sent to admin Tested voltages to gas valve getting 23.67v I’d recommend replacing the pcb on the boiler as the gas valve is around 10% out on readings and is varied by the pcb. I’ve left the boiler on for the tenant over night and told her we will be in contact with her regarding a repair.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45084
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45084
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45084
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45084
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45084
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes