## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
29 Dalby Avenue
Harrogate
HG2 7TN
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 24-45108
DATE OF REPORT: 09/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45108
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | One Stawberry Lane
Newcastle upon Tyne
NE1 4BX
Site Address | 29 Dalby Avenue
Harrogate
HG2 7TN
Carried Out On | 09/04/2024
Survey Completed By | Matthew Wall
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45108
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A)y Existing Boiler - Y or N/A y Existing Cylinder & Tanks - Y or N/A y Existing Flue Run - Y or N/A y Existing Controls- Y or N/A y Stop Tap - Y or N/A y Gas Meter- Y or N/A y Distribution Board - Y or N/A y Existing Condensate - Y or N/A na New Condensate Termination- Y or N/A na Existing PRV Termination - Y or N/A New PRV Termination - Y or N/A na Smoke Alarms - Y or N/A y Co2 Alarms - Y or N/A y Existing poor condition radiators – Y or N/A na Scaffolding location - Y or N/A na Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –house Existing Loft insulation thickness in mm (Example “200mm”) -300m Smoke Alarm Locations - hall Co Alarm Location - kitchen Distribution Pannel Location - hall Existing heating control location - kitchen Existing supply (Natural Gas / LPG / Oil) - natural gas Solar Thermal (Yes / No) no Existing Boiler Make & Model -potterton prima 40f Existing Boiler serial number -225412 Existing Boiler Location -kitchen Existing Boiler Type (Combi / Heat Only / System boiler) -heat only Install Type (Full Heating / Conversion / Boiler Replacement) - boiler replacement New Boiler Location - same Stand off kit required - yes New Flue (Horizontal / Vertical) - horizontal Flue Materials Required -na Scaffolding required -na Gas Meter location (Internal / External) - external Stop tap location -kitchen Stop tap working (Yes / No) -yes Existing condensate termination location -na New Condensate termination location -internal Condensate materials required - na Condensate Pump (Yes / No) -no Pressure relief termination location -through wall Number of Bathrooms - 1 Number of thermostatic Showers - 0 Number of electric Showers - 1 Total number of existing radiators -8 Current Cooker (Gas / Electric) - elecyric Current Fire (Gas / Electric) –none Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -15.. Existing Pipework type (Copper / Speed fit / Hep) -copper Is Speed fit / Hep Barrier protected (Yes / No) -no Existing Rad Valve Sizes (8mm / 10mm / 15mm) -15mm Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) -yes Talon Trunking requirements –no Only complete radiators if existing are poor condition or a full heating replacement

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45108
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45108
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45108
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45108
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45108
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes