## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
21 Edwin Avenue
Newcastle upon Tyne
NE12 9AY
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-45189
DATE OF REPORT: 22/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45189
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 21 Edwin Avenue
Newcastle upon Tyne
NE12 9AY
Carried Out On | 22/04/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45189
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A yes Existing Cylinder & Tanks - na Existing Flue Run - Yes Existing Controls- Yes Stop Tap - Yes Gas Meter- Yes Distribution Board - unable to access at this time Existing Condensate - Yes New Condensate Termination- same position Existing PRV Termination - Yes New PRV Termination - same position Smoke Alarms - Yes Co2 Alarms - Yes Existing poor condition radiators – Yes Scaffolding location - na Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –flat ground floor Existing Loft insulation thickness in mm (Example “200mm”) -na Smoke Alarm Locations -hall kitchen Co Alarm Location -kitchen Distribution Pannel Location -hall Existing heating control location - kitchen Existing supply (Natural Gas / LPG / Oil) -may gas Solar Thermal (Yes / No) no Existing Boiler Make & Model -Glowworm 30cxi Existing Boiler serial number - not able to read Existing Boiler Location -kitchen Existing Boiler Type (Combi / Heat Only / System boiler) -combi Install Type (Full Heating / Conversion / Boiler Replacement) -full heating New Boiler Location -kitchen Stand off kit required -yes New Flue (Horizontal / Vertical) -horizontal Flue Materials Required - hrz flue and elbow Scaffolding required -no Gas Meter location (Internal / External) -internal Stop tap location -kitchen Stop tap working (Yes / No) -yes Existing condensate termination location -external to drain New Condensate termination location - same position Condensate materials required -32 mm solvent pipe Condensate Pump (Yes / No) -no Pressure relief termination location -external wall Number of Bathrooms -1 Number of thermostatic Showers -0 Number of electric Showers -1 Total number of existing radiators -6 Current Cooker (Gas / Electric) -electric Current Fire (Gas / Electric) –electric Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -15mm Existing Pipework type (Copper / Speed fit / Hep) -copper Is Speed fit / Hep Barrier protected (Yes / No) -mo Existing Rad Valve Sizes (8mm / 10mm / 15mm) -15mm Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) -yes Talon Trunking requirements –no boxing required Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size -1140x700 D Room Length x Width x Height (In meters) -4.3x3.8x2.5 Max New size if applicable - Existing Kitchen Rad Size -540x 700 D Room Length x Width x Height (In meters) -2.3x3x2.5 Max New size if applicable - Existing Hall Rad Size -940 x700 S Room Length x Width x Height (In meters) -2.4x3.9x2.6 Max New size if applicable Existing Bathroom Rad Size -540 x 700 D Room Length x Width x Height (In meters) -2.5 x1.4x2.5 Max New size if applicable - Existing Bed 1 Rad Size -1540 x700 D Room Length x Width x Height (In meters) -2.6x4x2.5 Max New size if applicable - Existing Bed 2 Rad Size -1140x700 D Room Length x Width x Height (In meters) -4.4x2.2x2.5 Max New size if applicable - Existing Bed 3 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Any Other notes Tenant Not sure she wants full heating possibly just boiler and radiators due to new carpets been fitted

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45189
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45189
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45189
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45189
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45189
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes