## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
50 Benwell Hall Drive
Newcastle upon Tyne
NE15 7PJ
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-45196
DATE OF REPORT: 30/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45196
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 50 Benwell Hall Drive
Newcastle upon Tyne
NE15 7PJ
Carried Out On | 10/04/2024, 30/04/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45196
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks -NA Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - N/A New Condensate Termination- Y Existing PRV Termination - Y New PRV Termination - Y Smoke Alarms - Y Co2 Alarms - Y Existing poor condition radiators – Y Scaffolding location - NA Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –FLAT Existing Loft insulation thickness in mm (Example “200mm”) -NA Smoke Alarm Locations -KITCHEN LIVING ROOM HALL Co Alarm Location -KITCHEN /L ROOM Distribution Pannel Location -PORCH Existing heating control location -L ROOM Existing supply (Natural Gas / LPG / Oil) -NATURAL GAS Solar Thermal (Yes / No)NO Existing Boiler Make & Model -BAXI 105HE Existing Boiler serial number -03-05-4284-247902-01-00 Existing Boiler Location -KITCHEN Existing Boiler Type (Combi / Heat Only / System boiler) -COMBI Install Type (Full Heating / Conversion / Boiler Replacement) -FULL HEATING New Boiler Location -KITCHEN Stand off kit required -NO New Flue (Horizontal / Vertical) -HRZ Flue Materials Required -FLUE ONLY Scaffolding required -NA Gas Meter location (Internal / External) -EXTERNAL Stop tap location -KITCHEN Stop tap working (Yes / No) -YES Existing condensate termination location -SINK WASTE New Condensate termination location -40mm clamp and overflow Condensate materials required - Condensate Pump (Yes / No) -no Pressure relief termination location -external Number of Bathrooms -ONE Number of thermostatic Showers -NONE Number of electric Showers -ONE Total number of existing radiators -FIVE Current Cooker (Gas / Electric) -GAS Current Fire (Gas / Electric) –ELECTRIC Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -15mm Existing Pipework type (Copper / Speed fit / Hep) -copper Is Speed fit / Hep Barrier protected (Yes / No) -no Existing Rad Valve Sizes (8mm / 10mm / 15mm) -15mm Existing TRVS installed (Yes / No) -yes 1 Existing double lock shield radiator (Yes / No) -yes 4 Talon Trunking requirements –Na Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size -1540x 700 D Room Length x Width x Height (In meters) -4.4 x3.3x2.4 Max New size if applicable - Existing Kitchen Rad Size -1340 cx 700D Room Length x Width x Height (In meters) -2.7 x3.4x2.4 Max New size if applicable - Existing Hall Rad Size -540x 500 s Room Length x Width x Height (In meters) -1.6 x1.6x2.4 Max New size if applicable -500x 600 D Existing Dining Room Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bathroom Rad Size -540 x500 Room Length x Width x Height (In meters) -1.9x2.0x2.4 Max New size if applicable - Existing Bed 1 Rad Size -1340 x700 Room Length x Width x Height (In meters) -2.5x4x2.4 Max New size if applicable - Existing Bed 2 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 3 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Any Other notes

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45196
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45196
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45196
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45196
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45196
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes