## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 Levens Walk
Cramlington
NE23 8DY
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-45208
DATE OF REPORT: 11/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45208
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 12 Levens Walk
Cramlington
NE23 8DY
Carried Out On | 11/04/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for full heating - tenant advised their boiler was replaced last year please get evidence for this

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45208
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A YES Existing Cylinder & Tanks - Y or N/A NA Existing Flue Run - Y or N/A YES Existing Controls- Y or N/A YES Stop Tap - Y or N/A YES Gas Meter- Y or N/A YES Distribution Board - Y or N/A YES Existing Condensate - Y or N/A YES New Condensate Termination- Y or N/A NA Existing PRV Termination - Y or N/A NA New PRV Termination - Y or N/A NA Smoke Alarms - Y or N/A YES Co2 Alarms - Y or N/A YES Existing poor condition radiators – Y or N/A YES Scaffolding location - Y or N/A NA Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –HOUSE Existing Loft insulation thickness in mm (Example “200mm”) -200MM Smoke Alarm Locations -HALL KITCHEN LANDING Co Alarm Location -HAKK KITCHEN LANDING Distribution Pannel Location -HALL Existing heating control location -HALL Existing supply (Natural Gas / LPG / Oil) -NATURAL GAS Solar Thermal (Yes / No)N Existing Boiler Make & Model -IDEAL LOGIC COMBI C30 Existing Boiler serial number -UNKNOWN Existing Boiler Location -AIRING CUPBOARD Existing Boiler Type (Combi / Heat Only / System boiler) -COMBI Install Type (Full Heating / Conversion / Boiler Replacement) -RADIATORS AND PIPE WORK ONLY New Boiler Location -NA Stand off kit required -NA New Flue (Horizontal / Vertical) -NA Flue Materials Required NA- Scaffolding required -NA Gas Meter location (Internal / External) -HALL Stop tap location -KITCHEN Stop tap working (Yes / No) -YES Existing condensate termination location -INTERNAL New Condensate termination location -NA Condensate materials required -NA Condensate Pump (Yes / No) -NO Pressure relief termination location -EXTERNAL Number of Bathrooms -1 Number of thermostatic Showers -1 Number of electric Showers -0 Total number of existing radiators -7 Current Cooker (Gas / Electric) -GAS Current Fire (Gas / Electric) – Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - 8MM Existing Pipework type (Copper / Speed fit / Hep) - COPPER Is Speed fit / Hep Barrier protected (Yes / No) -NO Existing Rad Valve Sizes (8mm / 10mm / 15mm) -8MM Existing TRVS installed (Yes / No) -YES Existing double lock shield radiator (Yes / No) - YES Talon Trunking requirements – YES 15MM DOUBLE TRUNKIN X 12 3 METER LENGTHS END CAPS AND CORNER TRIM Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size - 700 X940 D Room Length x Width x Height (In meters) -3.2X4.7X23 Max New size if applicable - Existing Kitchen Rad Size - NA Room Length x Width x Height (In meters) -2.8 X 4.8X 2.3 Max New size if applicable - Existing Hall Rad Size -840 X 700 D Room Length x Width x Height (In meters) -3.0 X2.0 X2.3 Max New size if applicable - Existing Dining Room Rad Size -NA Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bathroom Rad Size -TOWEL RAIL TO BE KEPT 600MM X 1000MM Room Length x Width x Height (In meters) -1.7X2.0X2.3 Max New size if applicable - Existing Bed 1 Rad Size -800 X 500 S Room Length x Width x Height (In meters) -3.5X2.6X2.3 Max New size if applicable - Existing Bed 2 Rad Size -500 X500 S Room Length x Width x Height (In meters) -3.5 X1.9X 2.3 Max New size if applicable - Existing Bed 3 Rad Size -1240 X500 S Room Length x Width x Height (In meters) -3.5 X2.9X2.3 Max New size if applicable - Existing other Rad Size (state location) - DOWN STAIR TOILET 540 X540 S Room Length x Width x Height (In meters) -1.1X1.9X2.3 Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Any Other notes TENEANT WANTS TO KEEP TOWEL RAIL

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45208
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45208
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45208
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45208
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45208
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes