## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
105 Napier Road
Swalwell
Newcaste Upon Tyne
NE16 3BT
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-45214
DATE OF REPORT: 10/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45214
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 105 Napier Road
Swalwell
Newcaste Upon Tyne
NE16 3BT
Carried Out On | 10/04/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45214
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A YES Existing Cylinder & Tanks - NA Existing Flue Run - YES Existing Controls- YES Stop Tap - YES Gas Meter- YES Distribution Board - YES Existing Condensate - YES New Condensate Termination- N/A Existing PRV Termination - YES New PRV Termination - N/A Smoke Alarms - YES Co2 Alarms - YES Existing poor condition radiators – YES Scaffolding location - N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –GROUND FLOOR FLAT Existing Loft insulation thickness in mm (Example “200mm”) - Smoke Alarm Locations -HALL /KITCHEN Co Alarm Location -KITCHEN Distribution Pannel Location -HALL Existing heating control location -BATHROOM/HALL Existing supply (Natural Gas / LPG / Oil) -NATURAL GAS Solar Thermal (Yes / No)NO Existing Boiler Make & Model -POTTERTON PROMAX COMBI Existing Boiler serial number -AWA064686154BB Existing Boiler Location -KITCHEN Existing Boiler Type (Combi / Heat Only / System boiler) -COMBI Install Type (Full Heating / Conversion / Boiler Replacement) -BOILER REPLACEMENT New Boiler Location -SAME AS CURRENT BOILER Stand off kit required -NO New Flue (Horizontal / Vertical) -HORIZONTAL Flue Materials Required - Scaffolding required -NO Gas Meter location (Internal / External) -INTERNAL HALL Stop tap location -KITCHEN Stop tap working (Yes / No) -YES Existing condensate termination location -EXTERNAL New Condensate termination location -EXTERNAL DRAIN Condensate materials required - 32MM PIPE AND FITTINGS 21MM PIPE AND FITTINGS Condensate Pump (Yes / No) -NO Pressure relief termination location -EXTERNAL Number of Bathrooms -1 Number of thermostatic Showers -0 Number of electric Showers -0 Total number of existing radiators -5 Current Cooker (Gas / Electric) -ELECTRIC Current Fire (Gas / Electric) -ELECTRIC Valves & Pipework Existing Pipe work size (15mm) -15MM Existing Pipework type (Copper) -COPPER Is Speed fit / Hep Barrier protected (Yes / No) -NA Existing Rad Valve Sizes (8mm / 10mm / 15mm) -15MM Existing TRVS installed (Yes / No) -YES Existing double lock shield radiator (Yes / No) -YES Talon Trunking requirements –NO

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45214
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45214
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45214
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45214
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45214
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes