## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
42 Elizabeth Diamond Gardens
South Shields
NE33 5HX
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-45326
DATE OF REPORT: 08/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45326
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 42 Elizabeth Diamond Gardens
South Shields
NE33 5HX
Carried Out On | 08/04/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45326
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A yes Existing Cylinder & Tanks - N/A Existing Flue Run - Yes Existing Controls- Yes Stop Tap - Yes Gas Meter- Yes Distribution Board - yes Existing Condensate - Yes New Condensate Termination- NA Existing PRV Termination - Yes New PRV Termination - same as old PRV Smoke Alarms - Yes Co2 Alarms - Yes Existing poor condition radiators – Yes Scaffolding location - YES Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –House Existing Loft insulation thickness in mm (Example “200mm”) -200mm Smoke Alarm Locations -Hall / landing Co Alarm Location -Hall / landing Distribution Pannel Location -hall Existing heating control location -kitchen Existing supply (Natural Gas / LPG / Oil) -Natural Gas Solar Thermal (Yes / No)no Existing Boiler Make & Model -Pottterton Promax 28 combi Existing Boiler serial number -AWA 080830541BG Existing Boiler Location -Airing cupboard Existing Boiler Type (Combi / Heat Only / System boiler) -combi Install Type (Full Heating / Conversion / Boiler Replacement) -full heating New Boiler Location - same position as old boiler Stand off kit required -no New Flue (Horizontal / Vertical) -vertical Flue Materials Required -vertical flue , 4 x flue extensions , 2 x 45 degree bends , 4 x flue clamps 1 x roof flashing Scaffolding required - yes Gas Meter location (Internal / External) -external Stop tap location - kitchen Stop tap working (Yes / No) -yes Existing condensate termination location -external to soak away New Condensate termination location - Internal to bath waste if possible if not soakaway positioned at least 600mm from house Condensate materials required - overflow pipe and fittings , 40mm pipe and reducer fittings , possible soakaway and limestone chippings Condensate Pump (Yes / No) - no Pressure relief termination location -external Number of Bathrooms -1 Number of thermostatic Showers -1 Number of electric Showers -0 Total number of existing radiators -7 Current Cooker (Gas / Electric) -electric cooker /gas hob Current Fire (Gas / Electric) –none Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - 15mm Existing Pipework type (Copper / Speed fit / Hep) -copper Is Speed fit / Hep Barrier protected (Yes / No) -no Existing Rad Valve Sizes (8mm / 10mm / 15mm) -15mm Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) -yes Talon Trunking requirements –10 x 3 meter lengths of double 15mm , 4 external corners , 4 end caps Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size -950 x 700 singles x 2 Room Length x Width x Height (In meters) -3.9 x 5.7 x2.3 Max New size if applicable - Existing Kitchen Rad Size -1200 x 600 single Room Length x Width x Height (In meters) -4.7 x 3.3 x 2.3 Max New size if applicable - Existing Hall Rad Size -540 x 400 single Room Length x Width x Height (In meters) -4.3 x 1.3 x 2.3 Max New size if applicable - Existing Bathroom Rad Size - 540 x 400 single Room Length x Width x Height (In meters) -2.1 x 2.0 x 2.3 Max New size if applicable - Existing Bed 1 Rad Size -840 x 500 single Room Length x Width x Height (In meters) -3.3 x3.0 x 2.3 Max New size if applicable - Existing Bed 2 Rad Size - 640 x 500 single Room Length x Width x Height (In meters) -2.0 x 2,8 x2.3 Max New size if applicable - Existing Bed 3 Rad Size -1000 x 600 single Room Length x Width x Height (In meters) -3.9 x 2.8 x 2.3 Any Other notes

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45326
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45326
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45326
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45326
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45326
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes