## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 Congburn View
Pelton Fell
Chester Le Street
DH2 2BN
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-45378
DATE OF REPORT: 05/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45378
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 3 Congburn View
Pelton Fell
Chester Le Street
DH2 2BN
Carried Out On | 05/04/2024
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Leak from loft space

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45378
SECTION 3: Report
Found source of leak. Hot water 22mm push fit fitting. Isolated water to property and tightened fitting back up. Started job at 11 and got back at 12:42

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45378
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45378
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45378
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45378
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45378
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes