## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
70 Woodynd
Gateshead
NE10 8RR
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-45385
DATE OF REPORT: 03/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45385
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 70 Woodynd
Gateshead
NE10 8RR
Carried Out On | 11/04/2024, , 03/05/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45385
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks - NA Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- SAME POSITION Existing PRV Termination - Y New PRV Termination - SAME TERMINATION Smoke Alarms - Y Co2 Alarms - Y Existing poor condition radiators – Y Scaffolding location - NA Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –HOUSE Existing Loft insulation thickness in mm (Example “200mm”) -250mm Smoke Alarm Locations -landing /kitchen Co Alarm Location -LANDING Distribution Pannel Location -HALL Existing heating control location -HALL Existing supply (Natural Gas / LPG / Oil) -NAT GAS Solar Thermal (Yes / No)NO Existing Boiler Make & Model -RAVENHEAT Existing Boiler serial number -06054226 Existing Boiler Location -BATHROOM CUPBOARD Existing Boiler Type (Combi / Heat Only / System boiler) -COMBI Install Type (Full Heating / Conversion / Boiler Replacement) -BOILER REPLACEMENT New Boiler Location -BATHROOM Stand off kit required -NO New Flue (Horizontal / Vertical) -VERTICAL Flue Materials Required -4x extension. 2x 45 dDegreebends Scaffolding required -NO Gas Meter location (Internal / External) -INTERNAL Stop tap location -KITCHEN Stop tap working (Yes / No) -YES Existing condensate termination location -EXTERNAL New Condensate termination location -SAME POSITION Condensate materials required -32 mm Ppipe Condensate Pump (Yes / No) -NO Pressure relief termination location - Number of Bathrooms -1 Number of thermostatic Showers -0 Number of electric Showers -1 Total number of existing radiators -8 Current Cooker (Gas / Electric) -Gas Current Fire (Gas / Electric) –ELECTRIC Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -15mm Existing Pipework type (Copper / Speed fit / Hep) -copper Is Speed fit / Hep Barrier protected (Yes / No) -no Existing Rad Valve Sizes (8mm / 10mm / 15mm) -15MM Existing TRVS installed (Yes / No) -YES Existing double lock shield radiator (Yes / No) -YES Talon Trunking requirements –NO Only complete radiators if existing are poor condition or a full heating replacement

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes