## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Phoenix RIse ( Flat 36 )
Ambassadors Way
North Shields
NE29 8SQ
CARRIED OUT ON BEHALF OF
54North Homes
REPORT NUMBER: 24-45539
DATE OF REPORT: 29/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45539
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | 54North Homes
Address | Alpha Court
Monks Cross Drive
Huntington
York
YO32 9WN
Site Address | Phoenix RIse ( Flat 36 )
Ambassadors Way
North Shields
NE29 8SQ
Carried Out On | 11/04/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
heating is still not working properly - staying on constantly and tnt is having to turn it off in her vcupboard

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45539
SECTION 3: Report
Ct 11/3/24 Leak on bathroom cartridge notice when investigating so replaced. Electric control box is tripping in and out apparently Lee from Morgan sindall has ordered one I will order one incase we are to re attend her heating isn’t on as proved with thermo camera her room is as hot as it it through heat from flat below Fow if required to fit new control zone block

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45539
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45539
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45539
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45539
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45539
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes