## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
6 John Taylor Court
Southwick
Sunderland
SR5 2PX
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-45559
DATE OF REPORT: 08/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45559
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 6 John Taylor Court
Southwick
Sunderland
SR5 2PX
Carried Out On | 08/04/2024
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No heating please investigate

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45559
SECTION 3: Report
RB- heating and hot water were both set to minimum on boiler. Turned up so hot water was 55 and heating was 70. Explained to tenant again how to use thermostat.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45559
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45559
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45559
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45559
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45559
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes