## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rooms with Bungalow, 5 Carisbrooke Close
Washington
Tyne & Wear
NE37 2HZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-45781
DATE OF REPORT: 10/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45781
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Rooms with Bungalow, 5 Carisbrooke Close
Washington
Tyne & Wear
NE37 2HZ
Carried Out On | 10/04/2024
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No heating and no hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45781
SECTION 3: Report
Forgot to press stop on Job job time 1 hour 40 mins. RB- when arriving on site the heating and hot water was on. After speaking to staff discovered that the issue was the programmer the times were set for the hot water to turn in at 8 am meaning after the tank heated up they only got hot water about 10 am which is to late. I have changed it to come on at 4:30 so it will have time to heat up before they start.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45781
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45781
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45781
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45781
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45781
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes