## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
11 Langdale Drive
Cramlington
NE23 8ED
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-45808
DATE OF REPORT: 11/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45808
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 11 Langdale Drive
Cramlington
NE23 8ED
Carried Out On | 11/04/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for full heating - tenant advised she would only like the rads downstairs replaced please get refusal form signed if needs be

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45808
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/AY Existing Cylinder & Tanks - N/A Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - N/A New Condensate Termination- N/A Existing PRV Termination - Y New PRV Termination - Y Smoke Alarms - Y Co2 Alarms - Y Existing poor condition radiators – Y Scaffolding location - Y Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –HOUSE Existing Loft insulation thickness in mm (Example “200mm”) -200MM Smoke Alarm Locations -YES HALL Co Alarm Location -YES HALL Distribution Pannel Location -YES HALL Existing heating control location - AIRING CUBOARD / HALL Existing supply (Natural Gas / LPG / Oil) -NATURAL GAS Solar Thermal (Yes / No)NO Existing Boiler Make & Model -BAXI 105 HE Existing Boiler serial number -NA Existing Boiler Location -AIRING CUPBOARD Existing Boiler Type (Combi / Heat Only / System boiler) -COMBI Install Type (Full Heating / Conversion / Boiler Replacement) -BOILER REPLACEMENT New Boiler Location -AIRING CUPBOARD Stand off kit required -NO New Flue (Horizontal / Vertical) - VWETICAL Flue Materials Required -VERTICAL FLUE , FLASHING , FLUE CLIPS X 3, FLUE EXTENSIONS X 3, 2 X 45 DEGREE BENDS Scaffolding required - YES Gas Meter location (Internal / External) -IN TERNAL Stop tap location -KITCHEN Stop tap working (Yes / No) YES- Existing condensate termination location -NON CONDENSING New Condensate termination location -NEW BATHROOM WASTE Condensate materials required -21MM PIPE AND CLAMP FOR 40MM WASTE Condensate Pump (Yes / No) -YES Pressure relief termination location - EXTERNAL Number of Bathrooms -1 Number of thermostatic Showers -1 Number of electric Showers -0 Total number of existing radiators -7 Current Cooker (Gas / Electric) -ELECTRIC Current Fire (Gas / Electric) –NA Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -15MM Existing Pipework type (Copper / Speed fit / Hep) -COPPER Is Speed fit / Hep Barrier protected (Yes / No) -NA Existing Rad Valve Sizes (8mm / 10mm / 15mm) -15MM Existing TRVS installed (Yes / No) -YES Existing double lock shield radiator (Yes / No) -YES Talon Trunking requirements –NO Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Kitchen Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Hall Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Dining Room Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bathroom Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 1 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 2 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 3 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Any Other notes

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45808
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45808
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45808
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45808
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45808
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes