## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
43 Front Street
Winlaton
Blaydon on Tyne
NE21 6AG
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-45812
DATE OF REPORT: 16/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45812
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 43 Front Street
Winlaton
Blaydon on Tyne
NE21 6AG
Carried Out On | 16/04/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for rads and distro

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45812
SECTION 3: Report
Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -8MM Existing Pipework type (Copper / Speed fit / Hep) -COPPER Is Speed fit / Hep Barrier protected (Yes / No) -NO Existing Rad Valve Sizes (8mm / 10mm / 15mm) -8MM Existing TRVS installed (Yes / No) -YES Existing double lock shield radiator (Yes / No) -YES Talon Trunking requirements –YES 14 3 METER LENGTHS 6 X END CAPS 6 X EXTERNAL CORNERS Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size -1250 X 500 DC Room Length x Width x Height (In meters) -3.3X5.3X2.3 Max New size if applicable - Existing Kitchen Rad Size -540 X500 S Room Length x Width x Height (In meters) -2.6X2.3X2.3 Max New size if applicable - Existing Hall Rad Size -530 X530 S Room Length x Width x Height (In meters) -3X2.6X2.3 Max New size if applicable - Existing Dining Room Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bathroom Rad Size -540X500 S Room Length x Width x Height (In meters) -1.9X2.2X2.8 Max New size if applicable - Existing Bed 1 Rad Size -730 X 500 S Room Length x Width x Height (In meters) -2.6X3.3X2.3 Max New size if applicable - Existing Bed 2 Rad Size -730 X500 S Room Length x Width x Height (In meters) -2.6 X2.8 X2.3 Max New size if applicable - Any Other notes

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45812
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45812
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45812
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45812
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45812
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes