## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
53 The Dene
Consett
County Durham
DH8 6PS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-45813
DATE OF REPORT: 12/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45813
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 53 The Dene
Consett
County Durham
DH8 6PS
Carried Out On | 12/04/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45813
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y or N/A Existing Cylinder & Tanks - Y or N/A Existing Flue Run - Y or N/A Existing Controls- Y or N/A Stop Tap - Y or N/A Gas Meter- Y or N/A Distribution Board - Y or N/A Existing Condensate - Y or N/A New Condensate Termination- Y or N/A Existing PRV Termination - Y or N/A New PRV Termination - Y or N/A Smoke Alarms - Y or N/A Co2 Alarms - Y or N/A Existing poor condition radiators – Y or N/A Scaffolding location - Y or N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –bungalow Existing Loft insulation thickness in mm (Example “200mm”) -250mm Smoke Alarm Locations -hallway Co Alarm Location -lounge Distribution Pannel Location -lounge cupboard Existing heating control location -hallway Existing supply (Natural Gas / LPG / Oil) -Nat gas Solar Thermal (Yes / No) no Existing Boiler Make & Model -Vailiant ecotec pro 28 Existing Boiler serial number - Existing Boiler Location -lounge cupboard Existing Boiler Type (Combi / Heat Only / System boiler) - Install Type (Full Heating / Conversion / Boiler Replacement) -boiler replacement New Boiler Location -lounge cupboard Stand off kit required -no New Flue (Horizontal / Vertical) -horizontal Flue Materials Required -flue 90 elbow Scaffolding required -no Gas Meter location (Internal / External) - Stop tap location -kitchn Stop tap working (Yes / No) -yes Existing condensate termination location -external New Condensate termination location -external Condensate materials required -pipe and elbows90 Condensate Pump (Yes / No) -no Pressure relief termination location -external Number of Bathrooms -1 Number of thermostatic Showers -1 Number of electric Showers -0 Total number of existing radiators -6 Current Cooker (Gas / Electric) -electric Current Fire (Gas / Electric) –electric Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -10mm Existing Pipework type (Copper / Speed fit / Hep) -hep Is Speed fit / Hep Barrier protected (Yes / No) -yes Existing Rad Valve Sizes (8mm / 10mm / 15mm) -10-15mm Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) -yes Talon Trunking requirements –no Only complete radiators if existing are poor condition or a full heating replacement

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45813
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45813
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45813
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45813
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45813
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes