## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
43 Arkless Grove
Consett
County Durham
DH8 8AB
CARRIED OUT ON BEHALF OF
Miss Georgia Wright
REPORT NUMBER: 24-45814
DATE OF REPORT: 10/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45814
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Miss Georgia Wright
Address | 43 Arkless Grove
Consett
County Durham
DH8 8AB
Site Address | 43 Arkless Grove
Consett
County Durham
DH8 8AB
Carried Out On | 10/04/2024
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Leak from downstairs toilet, currently isolated to avoid further damage

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45814
SECTION 3: Report
RB- bent pan connector to be replaced, normal one not flexi. Removed toilet so just to be refitted when have pan connector. Any issues give me a call.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45814
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45814
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45814
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45814
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45814
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes