## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Lake View
Hadston
Morpeth
NE65 9DN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-45816
DATE OF REPORT: 07/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45816
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 2 Lake View
Hadston
Morpeth
NE65 9DN
Carried Out On | 03/05/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
tenant is experiencing water ingress into bedroom of property. Roofers are unable to find any cause for leaks. please check solar panels and heating system for cause of leak.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45816
SECTION 3: Report
PN 3/5/23 Spoke to tenant he said it only happens when it rains no space in loft to crawl into bedroom ceiling needs cut out Been back to property solar tanks have been decommissioned combi boiler installed Solar panels need removed and roof re tiled

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45816
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45816
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45816
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45816
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45816
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes