## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
61 Front Street
Winlaton
Blaydon on Tyne
NE21 6AG
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-45857
DATE OF REPORT: 16/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45857
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 61 Front Street
Winlaton
Blaydon on Tyne
NE21 6AG
Carried Out On | 16/04/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45857
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - y Existing Cylinder & Tanks -NA Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- Y Existing PRV Termination - Y New PRV Termination - Y Smoke Alarms - Y Co2 Alarms - Y Existing poor condition radiators – Y Scaffolding location - NO Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –HOUSE Existing Loft insulation thickness in mm (Example “200mm”) -250MM Smoke Alarm Locations -HALL Co Alarm Location -HALL / KITCHEN Distribution Pannel Location -LIVING ROOM Existing heating control location -HALL /L ROOM Existing supply (Natural Gas / LPG / Oil) -NATURAL Solar Thermal (Yes / No)NO Existing Boiler Make & Model -POTTERTON PROMAX Existing Boiler serial number -AWA134230461LC Existing Boiler Location -KITCHEN Existing Boiler Type (Combi / Heat Only / System boiler) -COMBI Install Type (Full Heating / Conversion / Boiler Replacement) -FULL HEATING New Boiler Location -KITCHEN Stand off kit required -YES New Flue (Horizontal / Vertical) -HORIZONTAL Flue Materials Required - Scaffolding required -NA Gas Meter location (Internal / External) -INTERNAL Stop tap location -KITCHEN Stop tap working (Yes / No) YES- Existing condensate termination location INTERNAL TO WASHING MACHINE WASTE New Condensate termination location -SAME POSITION Condensate materials required -21 MM CONDENSATE PIPE AND FITTINGS Condensate Pump (Yes / No) -NO Pressure relief termination location -EXTERNAL Number of Bathrooms -1 Number of thermostatic Showers - Number of electric Showers -1 Total number of existing radiators -8 Current Cooker (Gas / Electric) -ELECTRIC Current Fire (Gas / Electric) –NA Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -8MM Existing Pipework type (Copper / Speed fit / Hep) -COPPER Is Speed fit / Hep Barrier protected (Yes / No) -NA Existing Rad Valve Sizes (8mm / 10mm / 15mm) -8MM Existing TRVS installed (Yes / No) -YES Existing double lock shield radiator (Yes / No) -YES Talon Trunking requirements –YES 10 X 3M LENGTHS CAP ENDS X 4 EXTERNAL CONERS X 4 Only complete radiators if existing are poor condition or a full heating replacement Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size -1500 X500 S AND 900 X 500 S Room Length x Width x Height (In meters) -4.4X3.6X2.3 Max New size if applicable - Existing Kitchen Rad Size -500 X500 S Room Length x Width x Height (In meters) -3.8 X2.9X2.3 Max New size if applicable - Existing Hall Rad Size -500 X500 S Room Length x Width x Height (In meters) -1.5X1X2.3 Max New size if applicable - DOWN STAIRS WC Room Rad Size -500X 500 S Room Length x Width x Height (In meters) -1.7X0.8X2.3 Max New size if applicable - Existing Bathroom Rad Size -600 X 500 Room Length x Width x Height (In meters) -17X2.2X23 Max New size if applicable - Existing Bed 1 Rad Size -700 X500 S Room Length x Width x Height (In meters) -2.1X3.1X2.3 Max New size if applicable - Existing Bed 2 Rad Size -1300 X500 S Room Length x Width x Height (In meters) -2.7X3.7X2.3 Max New size if applicable - Existing Bed 3 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Any Other notes

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45857
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45857
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45857
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45857
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45857
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes