## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
13 Beaumont Court
Blaydon
NE21 6BF
CARRIED OUT ON BEHALF OF
Marcus Dawson-Wood
REPORT NUMBER: 24-45858
DATE OF REPORT: 11/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45858
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Marcus Dawson-Wood
Address | 13 Beaumont Court
Blaydon
NE21 6BF
Site Address | 13 Beaumont Court
Blaydon
NE21 6BF
Carried Out On | 11/04/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Investigate issues with pressure of boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45858
SECTION 3: Report
PN 11/4/24 Fill valve lever stiff under boiler Removed lever Moved valve with adjustable spanner Replaced lever Valve now working

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45858
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45858
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45858
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45858
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45858
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes