## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Aged Miners Homes
Eldon Bank Top
Shildon
DL4 2HN
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-45872
DATE OF REPORT: 25/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45872
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 1 Aged Miners Homes
Eldon Bank Top
Shildon
DL4 2HN
Carried Out On | 24/04/2024
Survey Completed By | Stephen Spiller
SECTION 2: Introduction
Reactive survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45872
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks - N/A Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- Y Existing PRV Termination - N/A New PRV Termination - Y Smoke Alarms - Y Co2 Alarms - Y Existing poor condition radiators – N/A Scaffolding location - N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) – bungalow Existing Loft insulation thickness in mm (Example “200mm”) - 250mm Smoke Alarm Locations - hall Co Alarm Location - lounge Distribution Pannel Location - Y Existing heating control location - Y Existing supply (Natural Gas / LPG / Oil) - NG Solar Thermal (Yes / No) Existing Boiler Make & Model - Potterton Promax HE Plus Existing Boiler serial number - ATR103060006DC Existing Boiler Location - lounge cupboard Existing Boiler Type (Combi / Heat Only / System boiler) - heat only Install Type (Full Heating / Conversion / Boiler Replacement) - conversion New Boiler Location - same Stand off kit required - yes New Flue (Horizontal / Vertical) - vertical Flue Materials Required - roof kit, 4 of 45° elbows, 3 of 1m extension pieces Scaffolding required - no Gas Meter location (Internal / External) - external Stop tap location - SureStop in kitchen Stop tap working (Yes / No) - yes Existing condensate termination location - external drain New Condensate termination location - same Condensate materials required - no Condensate Pump (Yes / No) - no Pressure relief termination location - remote prv in loft Number of Bathrooms - 1 Number of thermostatic Showers - 1 Number of electric Showers - 0 Total number of existing radiators - 6 Current Cooker (Gas / Electric) - electric Current Fire (Gas / Electric) - electric Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - 8mm Existing Pipework type (Copper / Speed fit / Hep) - copper Is Speed fit / Hep Barrier protected (Yes / No) - n/a Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 15mm Existing TRVS installed (Yes / No) - yes Existing double lock shield radiator (Yes / No) - yes Talon Trunking requirements – none Only complete radiators if existing are poor condition or a full heating replacement 12m of 22mm copper pipe 6m of 15mm copper pipe 10 of 22mm elbows 8 of 15mm elbows 1 of 15mm pressure relief valve 1 of 22x22x15mm tee 1 of 15mm equal tee Boxing to be removed above boiler for flue access

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45872
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45872
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45872
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45872
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45872
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes