## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
68 Edwin Avenue
Newcaste Upon Tyne
NE12 9AY
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-45894
DATE OF REPORT: 21/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-45894
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 68 Edwin Avenue
Newcaste Upon Tyne
NE12 9AY
Carried Out On | 11/04/2024, 17/04/2024, 22/04/2024, 21/05/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-45894
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks - N/A Existing Flue Run - Y o Existing Controls- Y Stop Tap - N/A Gas Meter- Y Distribution Board - Y Existing Condensate - N/A New Condensate Termination- Y Existing PRV Termination - Y New PRV Termination - Y Smoke Alarms - Y Co2 Alarms - Y o Existing poor condition radiators – Y Scaffolding location - Y Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –1st floor flat Existing Loft insulation thickness in mm (Example “200mm”) -200mm Smoke Alarm Locations -hall kitchen Co Alarm Location -L room Distribution Pannel Location -hall Existing heating control location -hall Existing supply (Natural Gas / LPG / Oil) -natural gas Solar Thermal (Yes / No)no Existing Boiler Make & Model -baxi 105e Existing Boiler serial number -03 050054501 Existing Boiler Location -living room Existing Boiler Type (Combi / Heat Only / System boiler) -combi Install Type (Full Heating / Conversion / Boiler Replacement) -full heating New Boiler Location -living room Stand off kit required -no New Flue (Horizontal / Vertical) -vertical Flue Materials Required -4 x extensions 2 x 45 degree bends Scaffolding required -no Gas Meter location (Internal / External) -internal Stop tap location -kitchen Stop tap working (Yes / No) -yes Existing condensate termination location -na New Condensate termination location -pumped to oustide drain Condensate materials required -32mm pipe and overflow pipe and fittings Condensate Pump (Yes / No) -yes Pressure relief termination location -as exisiting route Number of Bathrooms -1 Number of thermostatic Showers -1 Number of electric Showers -0 Total number of existing radiators -7 Current Cooker (Gas / Electric) -electric Current Fire (Gas / Electric) –na Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -15mm Existing Pipework type (Copper / Speed fit / Hep) -copper Is Speed fit / Hep Barrier protected (Yes / No) -na Existing Rad Valve Sizes (8mm / 10mm / 15mm) 15mm- Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) -yes Talon Trunking requirements –not required pipe work under floor Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size -1140 x 500 D Room Length x Width x Height (In meters) -3.1X4.4X2.6 Max New size if applicable -1200 X 600 Existing Kitchen Rad Size -500 X 700 S Room Length x Width x Height (In meters) -2.2X3.2X2.6 Max New size if applicable -500 X 700 S Existing Hall Rad Size -1340 X 700 S Room Length x Width x Height (In meters) -3.2X2.9X2.6 Max New size if applicable - Existing Dining Room Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bathroom Rad Size -1340 X 700 Room Length x Width x Height (In meters) -1.4X2.6X2.6 Max New size if applicable - Existing Bed 1 Rad Size -1450 X 500 S Room Length x Width x Height (In meters) -2.1X1.9 X2.6 Max New size if applicable -1400 X 450 S Existing Bed 2 Rad Size -1040 X 500 S Room Length x Width x Height (In meters) -2.1 X 1.9 X2.6 Max New size if applicable -1100 X450 Existing Bed 3 Rad Size -1500 X 500 S Room Length x Width x Height (In meters) -4.1X2.7X2.6 Max New size if applicable -1500 X450 S Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Any Other notes

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-45894
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45894
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45894
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45894
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-45894
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes