## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Whinstone Lodge ( Communal )
Front Street
Whitley Bay
NE25 8DB
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-46056
DATE OF REPORT: 29/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-46056
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Whinstone Lodge ( Communal )
Front Street
Whitley Bay
NE25 8DB
Carried Out On | 23/04/2024
Survey Completed By | Graham Parker
SECTION 2: Introduction
No hot water in the building

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-46056
SECTION 3: Report
Ct 15/4/24 Both water heaters off on hi limit lock out. Reset both boiler 2 re fired and running 1 that has just been repaired won’t igingte and keeps failing Fow Graham to re attended as these are gas water heaters. 23/04/24 GP Found that I had knocked a sensor cable when o put together the casing of the water heater

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-46056
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46056
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46056
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46056
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46056
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes