## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Eccles Grange ( Plant Room )
Church Road
Backworth
NE27 0FW
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-46067
DATE OF REPORT: 29/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-46067
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Eccles Grange ( Plant Room )
Church Road
Backworth
NE27 0FW
Carried Out On | 23/04/2024
Survey Completed By | Graham Parker
SECTION 2: Introduction
bottom boiler leaking in the plant room

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-46067
SECTION 3: Report
Ct 16/4/24 Leak coming from inside gas boiler and running down. Took front cover off to try see where leak was coming from as not a room sealed door. Seen signs of old leak from the sensor however leak seemed to be coming from the flue port connection potentially a burst heat exchanger however I recall these been replaced when I first started. I have isolated and drained Fow Graham to strip burner and investigate if burner is burst or pin hold of if flue connection just needs resealed 23/04/23 GP Please see email report. Heat exchanger split

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-46067
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46067
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46067
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46067
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46067
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes