## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Buddle House
Buddle Road
Newcastle Upon Tyne
NE4 8AW
CARRIED OUT ON BEHALF OF
RHWE Ltd
REPORT NUMBER: 24-46142
DATE OF REPORT: 03/06/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-46142
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | RHWE Ltd
Address | RHWE Ltd
John Buddle Work Village
Buddle Road
Newcastle upon Tyne
NE4 8AW
Site Address | Buddle House
Buddle Road
Newcastle Upon Tyne
NE4 8AW
Carried Out On | 15/05/2024
Survey Completed By | Graham Parker
SECTION 2: Introduction
Carry out 6 Monthly Mechanical Check in Plantroom.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-46142
SECTION 3: Report
1 x ideal Evomax 2 60kw= operational 2 x grundfos UPSD 50-180f vt pumps 1 = operational 3.6 amps 2= operational 3.6 amps 1 x jet pressurisation unit = operational 1 x trend iq220 BMS = operational 1 x Remeha aqua calorifier = operational,no destrat pump fitted Flue = satisfactory Lagging = average No visible leaks PRV,S = good Valves = operational Safety controls = satisfactory 1 x DHWS expansion vessel = operational charged to 3.5 bar 1 x LTHW expansion vessel = operational charged to 1.5 bar Gauges = satisfactory Ventilation vent axia = operational and satisfactory

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-46142
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46142
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46142
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46142
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46142
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes