## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Carlton Court
Scorer Street
North Shields
NE29 0LB
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-46145
DATE OF REPORT: 24/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-46145
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Carlton Court
Scorer Street
North Shields
NE29 0LB
Carried Out On | 23/04/2024, 24/04/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Carry out 6 Monthly Mechanical Check in Plant Room.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-46145
SECTION 3: Report
Ppm Carlton court 3x Hamworthy fleet 125 1= operational 2= fault reset now operational 3= operational 2x hamworthy powerstock calorifier 1x Hamworthy pressuration unit operational no leaks 1x vt head Schneider m700 operational 1x vt valve body Schneider v321 2x 3 way valves Schneider heads operational Primary pumps 2x Grundfos Magna 3d 50-180f 1= operational amps 1.1 2= operational amps 0.8 Heating pumps 2x Grundfos Magna 3d 40-150f 1= operational amps 0.9 2= operational amps 1.0 Dhw secondary return pump Grundfos Magna 3 25/60 n operational amps 0.1 2x de strat pumps viral 1= operational amps 0.2 2= operational amps 0.3 1x heating expansion vessel charged at 1.5 bar 2x Dhw expansion vessel pressurised at 3.5 bar 1x interlock operational 8x Prv operational Valves and gauges operational Sensors operational Lagging good Water test taking

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-46145
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46145
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46145
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46145
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46145
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes