## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
West Way Day Room
South Shields
South Tyneside
NE33 4SR
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-46232
DATE OF REPORT: 09/07/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-46232
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | West Way Day Room
South Shields
South Tyneside
NE33 4SR
Carried Out On | 15/05/2024
Survey Completed By | Jason White
SECTION 2: Introduction
Annual Safety Checks on Heatrae Sadia ElectroMax combined electric flow boiler and direct unvented water heater.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-46232
SECTION 3: Report
Cylinder Type - unvented Capacity (Ltrs)180 Makers Warning Label Attached yes Inlet water pressure/flow rate 18LPM Fully commissioned yes System operating pressure (bar)3.5B Operating pressure expansion vessel (bar)3B Operating pressure expansion relief valve (bar)6B Is the tundish visible?yes

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-46232
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46232
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46232
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46232
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46232
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes