## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Flat 11;199-201 Stanton Street
Newcaste Upon Tyne
NE4 5LH
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-46310
DATE OF REPORT: 22/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-46310
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | Flat 11;199-201 Stanton Street
Newcaste Upon Tyne
NE4 5LH
Carried Out On | 22/04/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for full heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-46310
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks - N/A Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- tenant not sure of position Distribution Board - not sure of positions Existing Condensate - Yes New Condensate Termination- same position Existing PRV Termination - Yes New PRV Termination - same position Smoke Alarms - Y Co2 Alarms - Y Existing poor condition radiators – Scaffolding location - Yes Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –flat Existing Loft insulation thickness in mm (Example “200mm”) -Na Smoke Alarm Locations -hall/kitchen Co Alarm Location -hall/kitchen Distribution Pannel Location -unknown Existing heating control location -hall Existing supply (Natural Gas / LPG / Oil) -natural gas Solar Thermal (Yes / No)no Existing Boiler Make & Model -rehema avanta Existing Boiler serial number - not visable Existing Boiler Location -kitchen Existing Boiler Type (Combi / Heat Only / System boiler) -combi Install Type (Full Heating / Conversion / Boiler Replacement) -full heating New Boiler Location -kitchen Stand off kit required -no New Flue (Horizontal / Vertical) -horizontal Flue Materials Required -horizontal flue and elbows Scaffolding required -yes Gas Meter location (Internal / External) -in own by tenant Stop tap location -bathroom Stop tap working (Yes / No) -yes Existing condensate termination location -external to drain New Condensate termination location -same position Condensate materials required - Condensate Pump (Yes / No) -no Pressure relief termination location -external Number of Bathrooms -1 Number of thermostatic Showers -1 Number of electric Showers -0 Total number of existing radiators -3 Current Cooker (Gas / Electric) -electric Current Fire (Gas / Electric) –na Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -15mm Existing Pipework type (Copper / Speed fit / Hep) -copper Is Speed fit / Hep Barrier protected (Yes / No) -no Existing Rad Valve Sizes (8mm / 10mm / 15mm) -15mm Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) -yes Talon Trunking requirements –no Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size -1540 x 500 D Room Length x Width x Height (In meters) -4.9x3.9x2.4 Max New size if applicable - Existing Kitchen Rad Size -1140x 700 D Room Length x Width x Height (In meters) -2.8x2.3x2.4 Max New size if applicable Existing Bathroom Rad Size -540 x600 s Room Length x Width x Height (In meters) -2.7x1.5.x2.4 Any Other notes

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-46310
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46310
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46310
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46310
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46310
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes