## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
71 Front Street
Winlaton
Blaydon on Tyne
NE21 6AG
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-46345
DATE OF REPORT: 24/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-46345
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 71 Front Street
Winlaton
Blaydon on Tyne
NE21 6AG
Carried Out On | 24/04/2024
Survey Completed By | Steve Riley
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-46345
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks -r N/A Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - no cupboard not emptied Existing Condensate - Y New Condensate Termination- same position Existing PRV Termination - Y New PRV Termination - same position Smoke Alarms - Y Co2 Alarms - Y Existing poor condition radiators – Y Scaffolding location - no Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –house Existing Loft insulation thickness in mm (Example “200mm”) -250mm Smoke Alarm Locations -hall/ kitchen/ landing Co Alarm Location kitchen Distribution Pannel Location - Existing heating control location - Existing supply (Natural Gas / LPG / Oil) -nat gas Solar Thermal (Yes / No)no Existing Boiler Make & Model -potterton promax combi 28 Existing Boiler serial number -awa134950163LC Existing Boiler Location -Kitchen Existing Boiler Type (Combi / Heat Only / System boiler) -combi Install Type (Full Heating / Conversion / Boiler Replacement) -boiler replacement New Boiler Location -kitchen Stand off kit required -yes New Flue (Horizontal / Vertical) -horizontal Flue Materials Required -hr z flu Scaffolding required -no Gas Meter location (Internal / External) -external meter Stop tap location -kitchen Stop tap working (Yes / No) -yes Existing condensate termination location -internal to w/mc waste New Condensate termination location -same position Condensate materials required -ovverflow and clamp Condensate Pump (Yes / No) -no Pressure relief termination location -external wall Number of Bathrooms -1 Number of thermostatic Showers -0 Number of electric Showers -1 Total number of existing radiators -7 Current Cooker (Gas / Electric) -electric Current Fire (Gas / Electric) -na Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) -10mm Existing Pipework type (Copper / Speed fit / Hep) -copper Is Speed fit / Hep Barrier protected (Yes / No) -no Existing Rad Valve Sizes (8mm / 10mm / 15mm) -10mm Existing TRVS installed (Yes / No) -yes Existing double lock shield radiator (Yes / No) -yes Talon Trunking requirements –no Only complete radiators if existing are poor condition or a full heating replacement

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-46345
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46345
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46345
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46345
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46345
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes