## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
11 St Johns Road
Hexham
Northumberland
NE46 2AT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-46357
DATE OF REPORT: 26/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-46357
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 11 St Johns Road
Hexham
Northumberland
NE46 2AT
Carried Out On | 26/04/2024
Survey Completed By | Stephen Spiller
SECTION 2: Introduction
Planned survey for radiator replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-46357
SECTION 3: Report
Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - 8mm Existing Pipework type (Copper / Speed fit / Hep) - copper Is Speed fit / Hep Barrier protected (Yes / No) - n/a Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 15mm and 8mm Existing TRVS installed (Yes / No) - yes (mixed sizes) Existing double lock shield radiator (Yes / No) - yes Talon Trunking requirements – 12m of 22mm, 50m of 15mm, 2 of 22mm flat corners, 4 of 22mm internal corners, 3 of 22mm external corners, 12 of 15mm flat corners, 4 of 15mm internal corners, 4 of 15mm external corners. Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size - 21x69dp Room Length x Width x Height (In meters) - 4.5x4.3x2.4 Window - 2.8x1.35 Max New size if applicable - 2.3m wide, 0.55m tall Existing Kitchen Rad Size - 700x385dpx Room Length x Width x Height (In meters) -2.9x2.9x2.4 Window 1 - 1x0.65 Window 2 - 1x0.65 Door- 2.7x0. 8 Max New size if applicable - max 1.2m wide Existing Hall Rad Size - 21x53sp Room Length x Width x Height (In meters) - 4.2x1.3,& 3.1x1 Door - 2.1x0.9 Window - 1x0.6 Max New size if applicable - max width 2m Existing Bathroom Rad Size - 27x29sp Room Length x Width x Height (In meters) - 2.75x1.65 Window - 1x0.65 Max New size if applicable - max 1.9m wide Existing Bed 1 Rad Size - 21x77sp Room Length x Width x Height (In meters) - 3.9x3.6x2.4 Window - 1.3x2.4 Max New size if applicable - 0.55x3.4 Existing Bed 2 Rad Size - 21x61sp Room Length x Width x Height (In meters) - 3.2x2.9x2.4 Window - 1.35x1.8 Max New size if applicable - 0.55x2.7 Any Other notes 5 of 15mm trv 7 of 15mm lock shield valves 22m of 22mm pipe 66m of 15mm pipe 20 of 22mm elbows 4 of 22mm couplers 4 of 22mm equals tees 4 of 22x22x15mm tees 2 of 22x15x22mm tees 8 of 15mm tees 40 of 15mm elbows 4 of 15mm 45° elbows 10 of 15mm couplers 6 of 15mm kick overs All walls are brick, at least 5 walls will need to be drilled through.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-46357
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46357
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46357
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46357
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46357
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes