## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
16 The Orchard
South Preston Grove
North Tyneside
NE29 0HB
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-46382
DATE OF REPORT: 29/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-46382
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | 16 The Orchard
South Preston Grove
North Tyneside
NE29 0HB
Carried Out On | 23/04/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
All 3 Radiators in the flat are getting hot at the top staying cold on the bottom

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-46382
SECTION 3: Report
Ct 23/4/24 No return flowing. Tried venting no air. Changed zone valve incase it wasn’t opening properly. Isolated and fitted new one checked for leaks wired and checked opening closing the. Checked radiators heat fully. Materials 22mm Honeywell zone valve

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-46382
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46382
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46382
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46382
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46382
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes