## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
19 Eccles Grange
Church Road
Backworth
NE27 0FW
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-46402
DATE OF REPORT: 29/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-46402
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 19 Eccles Grange
Church Road
Backworth
NE27 0FW
Carried Out On | 24/04/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Water meter leaking in passage cupboard

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-46402
SECTION 3: Report
Ct 24/4/24 No leaks on either water meter on arrival no one could tell me which one was reported leaking, heating or cold water isolated both and replaced with section of pipework. Tight space as cupboard full as Tennant didn’t know was attending gained access through family member or close friend in building. Tested no leaks Materials 1x 15mm compression straight 1x 15mm slip xpress con 1m 15mm copper 1x 22mm double check valve compression. 1x 22’m slip xpress con 1m 22mm copper

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-46402
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46402
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46402
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46402
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46402
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes