## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rudyerd Court (Flat 18)
Lower Rudyerd Street
North Shields
NE29 6PD
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-46508
DATE OF REPORT: 25/04/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-46508
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Rudyerd Court (Flat 18)
Lower Rudyerd Street
North Shields
NE29 6PD
Carried Out On | 25/04/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
No Hot Water to the building - resident at number 18 reported - there was a problem with the Fire Alarm today, so it may have knocked off the gas.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-46508
SECTION 3: Report
PN 24/4/24 Gas shut off needed pushed back in - boilers reset Checked hot water at communal lounge /guest bathroom /laundrey Re attended job Start 21.30 End 22.54 Heating working Pump strat 1 flow failed light showing on BMS panel

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-46508
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46508
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46508
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46508
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46508
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes