## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
68 St Pauls Road
Hexham
NE46 2BE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-46567
DATE OF REPORT: 07/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-46567
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 68 St Pauls Road
Hexham
NE46 2BE
Carried Out On | 07/05/2024
Survey Completed By | Stephen Spiller
SECTION 2: Introduction
Planned survey for radiator replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-46567
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks - N/A Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- Y Existing PRV Termination - Y New PRV Termination - Y Smoke Alarms - Y Co Alarms - Y Existing poor condition radiators – Y Scaffolding location - N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) – house Existing Loft insulation thickness in mm (Example “200mm”) - 250mm Smoke Alarm Locations - landing, hall, lounge, kitchen Co Alarm Location - utility room Distribution Panel Location - cupboard in kitchen Existing heating control location - hall Existing supply (Natural Gas / LPG / Oil) - NG Solar Thermal (Yes / No) no Existing Boiler Make & Model - Ideal Logic Combi 2 C30 Existing Boiler serial number - AGQ22830801015648 Existing Boiler Location - utility Existing Boiler Type (Combi / Heat Only / System boiler) - combi Install Type (Full Heating / Conversion / Boiler Replacement) - radiators and Panel New Boiler Location - n/a Stand off kit required - n/a New Flue (Horizontal / Vertical) - n/a Flue Materials Required - n/a Scaffolding required - no Gas Meter location (Internal / External) - internal, cupboard in kitchen Stop tap location - kitchen cupboard Stop tap working (Yes / No) - yes Existing condensate termination location - external drain New Condensate termination location - same Condensate materials required - none Condensate Pump (Yes / No) - no Pressure relief termination location - external rear Number of Bathrooms - 1 Number of thermostatic Showers - 0 Number of electric Showers - 0 Total number of existing radiators - 7 Current Cooker (Gas / Electric) - electric Current Fire (Gas / Electric) – none Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - 10mm Existing Pipework type (Copper / Speed fit / Hep) - copper Is Speed fit / Hep Barrier protected (Yes / No) - n/a Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 10mm Existing TRVS installed (Yes / No) - yes Existing double lock shield radiator (Yes / No) - yes Talon Trunking requirements – 18m of 15mm trunking, 4 flat elbows. Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad 1 Size - 21x61sp Existing Lounge Rad 2 size - 21x61sp Room Length x Width x Height (In meters) - 3.4x4.6x2.4 Window 1- 1.3x1.8 Window 2 - 1.2x1.8 Max New size if applicable - 27x73 Existing Kitchen Rad Size - 27x37sp Room Length x Width x Height (In meters) - 5.2x2.4x2.4 Window - 1.2x1.2 Max New size if applicable - 27x37 Existing Hall Rad Size -27x53sp Room Length x Width x Height (In meters) - 2x1.9x2.4 (landing 1.9x 1.5x2.3) Door - 2.3x1.2 Max New size if applicable - 37x71 Existing Bed 1 Rad 1 Size - 21x 37sp Existing Bed 1 Rad 2 Size - 21x 37sp Room Length x Width x Height (In meters) - 4.6x3.4x2.3 Window 1 -1x1.8 Window 2 - 1.2x1.8 Max New size if applicable - rad 1 21x37, rad 2 27x71 Existing Bed 2 Rad Size - 21x45sp Room Length x Width x Height (In meters) - 3.5x2.9x2.3 Window 1 1.2x1.2 Window 2 1.2x1.2 Max New size if applicable - 27x45 Existing Bathroom Rad Size - 37x37sp Room Length x Width x Height (In meters) - 2.5x1.5x2.3 Window -1x1.2 Max New size if applicable - 27x45 Any Other notes 22m of 22mm pipe 8 of 22mm elbows 12 of 22x22x15mm tees 3 of 22x15x15mm bends 6 of 22mm couplers 60m of 15mm pipe 30 of 15mm elbows 6 of 15mm couplers 6 of 15mm TRVs 8 Of 15mm lockshield valves.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-46567
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46567
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46567
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46567
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46567
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes