## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
20 Dunlop Crescent
South Shields
NE34 6QG
CARRIED OUT ON BEHALF OF
Homegroup N1/N2
REPORT NUMBER: 24-46592
DATE OF REPORT: 13/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-46592
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Homegroup N1/N2
Address | One Strawberry Lane
Newcastle Upon Tyne
NE1 4BX
Site Address | 20 Dunlop Crescent
South Shields
NE34 6QG
Carried Out On | 13/05/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Carry out recomission

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-46592
SECTION 3: Report
PN 13/5/24 Recommission complete Turn On 1. Inspect the flue in the loft to ensure no flue joints have moved during completion of the work. 2. Reinstate the gas and electricity supply to the boiler and carry out a full combustion check to confirm that the 02% has remained correct and that there is no carbon monoxide in the flue. 3. Soundness/Tightness test gas supply. 4. Create a gas certificate identifying that the boiler is fully safe. 5. Take image of existing boiler and full flue route including termination once all works are completed before leaving the property. 6. Add/submit any additional notes or images you deem necessary such as existing damages, issues, or concerns.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-46592
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46592
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46592
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46592
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46592
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes