## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
23 Dene Grove
NE42 6NB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-46678
DATE OF REPORT: 13/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-46678
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 23 Dene Grove
NE42 6NB
Carried Out On | 13/05/2024
Survey Completed By | Stephen Spiller
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-46678
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler (Y or N/A) - Y Existing Cylinder & Tanks (Y or N/A) - Y Existing Flue Run (Y or N/A) - Y Existing Controls (Y or N/A) - Y Stop Tap (Y or N/A) - Y Gas Meter (Y or N/A) - Y Distribution Board (Y or N/A) - Y Existing Condensate (Y or N/A) - Y New Condensate Termination (Y or N/A) - Y Existing PRV Termination (Y or N/A) - Y New PRV Termination (Y or N/A) - Y Smoke Alarms (Y or N/A) - Y Co Alarms (Y or N/A) - Y Existing poor condition radiators (Y or N/A) - Y Scaffolding location (Y or N/A) - Y Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) – house Existing Loft insulation thickness in mm (Example “200mm”) - 250mm Smoke Alarm Locations - landing, hall Co Alarm Location - bedroom Distribution Panel Location - lounge cupboard Existing heating control location - hall Existing supply (Natural Gas / LPG / Oil) - NG Solar Thermal (Yes / No) - no Existing Boiler Make & Model - Vaillant Ecotec Plus 831R1 Existing Boiler serial number - 2109413085211300052979N9 Existing Boiler Location - bedroom cupboard Existing Boiler Type (Combi / Heat Only / System boiler) - combi Install Type (Full Heating / Conversion / Boiler Replacement) - combi swap New Boiler Location - same Stand off kit required - no New Flue (Horizontal / Vertical) - vertical Flue Materials Required - 1 of vertical kit, 2 of 1m extensions, 2 of 90° elbows. Scaffolding required - no Gas Meter location (Internal / External) - external front Stop tap location - bathroom boxing Stop tap working (Yes / No) - yes Existing condensate termination location - external soak away New condensate termination location - same Condensate materials required - 4m of 32mm pipe, 1 of overflow/32mm adapter, 2 of 32mm elbows, 1 of 32mm straight. Condensate Pump (Yes / No) - no Existing pressure relief termination location - external front New pressure relief termination location - same Number of Bathrooms - 1 Number of thermostatic showers - 1 Number of electric Showers - 0 Total number of existing radiators – 7 Does all existing radiators work - Y Does all hot water outlets work - Y Current Cooker (Gas / Electric) - Y Current Fire (Gas / Electric) - electric Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - 10mm Existing Pipework type (Copper / Speed fit / Hep) - copper Is Speed fit / Hep Barrier protected (Yes / No) - n/a Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 10 mm Existing TRVS installed (Yes / No) - yes Existing double lock shield radiator (Yes / No) - yes Talon Trunking requirements - none Only complete radiators for the following reasons 1. Existing heating system in 8mm pipework 2. Existing system in plastic NONE BARRIIER PROTECTED 3. Full Heating Replacement 4. Damaged or Rusted Radiator Radiators Existing Lounge Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Kitchen Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Hall Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Dining Room Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bathroom Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 1 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 2 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 3 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable - Any Other notes

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-46678
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46678
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46678
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46678
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46678
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes