## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Calvus Drive
NE15 0DZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-46684
DATE OF REPORT: 03/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-46684
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 7 Calvus Drive
NE15 0DZ
Carried Out On | 03/05/2024
Survey Completed By | Stephen Spiller
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-46684
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - N/A Existing Cylinder & Tanks - N/A Existing Flue Run - N/A Existing Controls- N/A Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - N/A New Condensate Termination- Y Existing PRV Termination - N/A New PRV Termination - Y Smoke Alarms - Y Co2 Alarms - N/A Existing poor condition radiators – N/A Scaffolding location - N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) – bungalow Existing Loft insulation thickness in mm (Example “200mm”) - 250mm Smoke Alarm Locations - Co Alarm Location - N/A Distribution Pannel Location - hall cupboard Existing heating control location - N/A Existing supply (Natural Gas / LPG / Oil) - NG Solar Thermal (Yes / No) no Existing Boiler Make & Model - N/A Existing Boiler serial number - N/A Existing Boiler Location - N/A Existing Boiler Type (Combi / Heat Only / System boiler) - none, electric storage heaters. Install Type (Full Heating / Conversion / Boiler Replacement) - full, boiler and radiators. New Boiler Location - lounge cupboard Stand off kit required - no New Flue (Horizontal / Vertical) - vertical Flue Materials Required - standard kit, 4m of extensions, 1 of 90° elbow, 2 of 45° bends, 3 supports. Scaffolding required - no Gas Meter location (Internal / External) - external front Stop tap location - under sink Stop tap working (Yes / No) - yes Existing condensate termination location - none New Condensate termination location - bathroom sink waste Condensate materials required - 2 of 32mm tee, 1 of overflow/32mm adaptor, 6m of overflow pipe, Condensate Pump (Yes / No) - yes Pressure relief termination location - external side Number of Bathrooms - 1 Number of thermostatic Showers - 0 Number of electric Showers - 1 Total number of existing radiators - 0 Current Cooker (Gas / Electric) - electric Current Fire (Gas / Electric) – none Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - none Existing Pipework type (Copper / Speed fit / Hep) - n/a Is Speed fit / Hep Barrier protected (Yes / No) - n/a Existing Rad Valve Sizes (8mm / 10mm / 15mm) - n/a Existing TRVS installed (Yes / No) - no Existing double lock shield radiator (Yes / No) - no Talon Trunking requirements – 7m of 22mm trunking, 1 of 22mm flat bend, 1 of 22mm internal bend, 1 of 22mm external bend, 42 of 15mm trunking, 5 flat bends, 1 internal bend, 1 external bend. Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size - Room Length x Width x Height (In meters) - 4.2x2.8x2.4 Windows - 1.3x1.2 and 1.4x2.2 Max New size if applicable - 0.7x1.2 Existing Kitchen Rad Size - Room Length x Width x Height (In meters) - 3.5x1.9x2.4 and 1.6x2x2.4 Door - 2x1 Window 1x1.5 Max New size if applicable - 1m wide Existing Hall Rad Size - Room Length x Width x Height (In meters) - 4.3x1x2.4 and 1.8x1.1x2.4 Door - 2x1.6 Max New size if applicable - 1.2 wide Existing Bathroom Rad Size - Room Length x Width x Height (In meters) - 1.9x1.8x2.4 Max New size if applicable - 1.8 wide Existing Bed 1 Rad Size - Room Length x Width x Height (In meters) - 3.2x3.1x2.4 and 1x1x2.4 Max New size if applicable - 1.6x0.8 Window - 1.1x1.6 Any Other notes 22m of 22mm pipe 24 of 22mm elbows 2 of 22x15x15mm tees 4 of 22x22x15mm tees 65m of 15mm pipe 30 of 15mm elbows 8 of 15mm couplers 4 of 15mm TRVs 6 of 15mm lockshield valves 10m of 22mm lagging 26m of 15mm lagging 1 of 15mm PRV

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-46684
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46684
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46684
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46684
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46684
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes