## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
19 Priestlands Close
Hexham
NE46 2AW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-46686
DATE OF REPORT: 03/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-46686
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 19 Priestlands Close
Hexham
NE46 2AW
Carried Out On | 03/05/2024
Survey Completed By | Stephen Spiller
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-46686
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks - N/A Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- Y Existing PRV Termination - Y New PRV Termination - Y Smoke Alarms - Y Co2 Alarms - Y Existing poor condition radiators – N/A Scaffolding location - N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) – house Existing Loft insulation thickness in mm (Example “200mm”) - 250mm Smoke Alarm Locations - hall, landing Co Alarm Location - bedroom Distribution Panel Location - hall Existing heating control location - hall Existing supply (Natural Gas / LPG / Oil) - NG Solar Thermal (Yes / No) no Existing Boiler Make & Model - Vaillant Ecotec Plus 24 Existing Boiler serial number - no visible data label Existing Boiler Location -bedroom cupboard Existing Boiler Type (Combi / Heat Only / System boiler) - combi Install Type (Full Heating / Conversion / Boiler Replacement) - full heating New Boiler Location - same Stand off kit required - no New Flue (Horizontal / Vertical) - horizontal Flue Materials Required - standard Scaffolding required - no Gas Meter location (Internal / External) - external side Stop tap location - kitchen cupboard Stop tap working (Yes / No) - yes Existing condensate termination location - external drain New Condensate termination location - same but re-piped Condensate materials required - 4m of 32mm pipe, 1 of overflow/32mm adaptor, 3 of 90° bends, 2 of 45° clips. Condensate Pump (Yes / No) - no Pressure relief termination location - external rear, to be turned back to wall. Number of Bathrooms - 1 Number of thermostatic Showers - 1 Number of electric Showers - 0 Total number of existing radiators -7 Current Cooker (Gas / Electric) - gas Current Fire (Gas / Electric) – electric Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - 8mm Existing Pipework type (Copper / Speed fit / Hep) - copper Is Speed fit / Hep Barrier protected (Yes / No) - n/a Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 8mm Existing TRVS installed (Yes / No) - yes Existing double lock shield radiator (Yes / No) - Talon Trunking requirements – Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size - 2 of 27x45sc Room Length x Width x Height (In meters) - 2.9x6x2.4 Max New size if applicable - rear max 53 wide. Window 1 1x1.2m Window 2 1.3x1.8m Existing Kitchen Rad Size -16x24 dpc Stelrad? Room Length x Width x Height (In meters) - 3.7x2.3x2.4 Max New size if applicable - same as existing Window - 2x1.1m Door - 2x0.9 Existing Hall Rad Size - 27x21dp Room Length x Width x Height (In meters) - 1.8x2.4x2.4 open staircase to landing. Max New size if applicable - max 21 wide Door - 2x0.9 Window 1 - 1x0.6 Window 2 - 1x0.6 Existing Bathroom Rad Size - 27x21sp Room Length x Width x Height (In meters) - 3.1x1.8x2.3 Max New size if applicable - same Window -1x0.6 Existing Bed 1 Rad Size - 27x45sc Room Length x Width x Height (In meters) - 2.9x4.2x2.3 Max New size if applicable - 27x59 Window - 1x1.8 Existing Bed 2 Rad Size - 27x37sp Room Length x Width x Height (In meters) - 3.1x3.1x2.3 Max New size if applicable - 27x59 Window - 1x1.7 Any Other notes 18m of 15mm mm trunking 4 of flat bends 15m of 22mm copper pipe 56m of 15mm copper pipe 40 of 15mm elbows 10 of 22mm elbows 10 of 22x22x15mm tees 2 of 22x15x1m tees 5 of 15mm TRVs 7 of 15mm lockshield valves

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-46686
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46686
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46686
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46686
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46686
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes