## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Tynedale Grange ( Flat 14 )
Haltwhistle
Northumberland
NE49 9LF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-46750
DATE OF REPORT: 29/10/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-46750
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Tynedale Grange ( Flat 14 )
Haltwhistle
Northumberland
NE49 9LF
Carried Out On | 02/05/2024, 08/05/2024
Survey Completed By | Graham Parker
SECTION 2: Introduction
2 port valve is leaking heavily valve not turning off our plumber unable to to do anything water pooling on floor - upstairs flat

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-46750
SECTION 3: Report
PN 2/4/24 Actuator leaking from front spindle Isolated actuator Tenant has electric shower 08:05/24 GP Drain top floor of building as isolations weren’t working then alter pipe work within the airing cupboard to take new 2 port zone valve all completed and operational Materials used from vehicle stock 2 x 15mm crimp elbows 2 x 15 mm crnp m and f elbows 1 x eph v222p 2 port zone valve and actuator 4x15 x 22mm internal reducers 1m x 15mm copper

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-46750
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46750
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46750
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46750
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46750
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes