## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
22 Eccles Grange
Backworth
Newcastle upon Tyne
NE27 0FW
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 24-46836
DATE OF REPORT: 03/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-46836
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 22 Eccles Grange
Backworth
Newcastle upon Tyne
NE27 0FW
Carried Out On | 03/05/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
unable to turn heating off - Steve our engineer attended this morning (3/5/24) and the Problem is with the motorised valve which he changed as this wasn't moving.. but completed the job, the tenant has said that all the valves are off and heat is still coming through Please contact tenant when attending - 07469308575

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-46836
SECTION 3: Report
PN 3/5/24 Radiator in lounge wasn’t Turing off by trv Isolated radiator by lock shield will need new trv fitted and actuator looked at aswell Also repaired leak on water meter

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-46836
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46836
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46836
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46836
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46836
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes