## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Aged Miners Homes
Primrose Hill
Co Durham
DH4 6DB
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-46839
DATE OF REPORT: 04/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-46839
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 4 Aged Miners Homes
Primrose Hill
Co Durham
DH4 6DB
Carried Out On | 04/05/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Leak in bathroom

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-46839
SECTION 3: Report
PN 4/5/24 Leak under bath from boiler installer drilling through wall and hitting basin waste Will need waste replaced by removing end panel on bath and more tiles along bottom of bath as basin waste is teed into condensate pipe so possibly can be cut at end of bath and removed from compression tee Will need a multi tool to removed tiles around bath as all panels are tiled in

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-46839
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46839
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46839
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46839
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46839
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes