## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Cong Burn View
Pelton Fell
Co Durham
DH2 2BN
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 24-46842
DATE OF REPORT: 05/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-46842
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 10 Cong Burn View
Pelton Fell
Co Durham
DH2 2BN
Carried Out On | 05/05/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
No heating or Hot Water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-46842
SECTION 3: Report
5/5/24 Low pressure topped up heating and hot water working Checked pies in loft to where I could get to no visible leaks No water marks on ceiling piped run through walls tenant saying it’s happening every few weeks

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-46842
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46842
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46842
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46842
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46842
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes