## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Robinson House
Grant Street
Horden
SR8 4DD
CARRIED OUT ON BEHALF OF
Believe Housing
REPORT NUMBER: 24-46855
DATE OF REPORT: 06/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-46855
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Believe Housing
Address | Coast House
Spectrum 4
Spectrum Business Park
Seaham
SR7 7TT
Site Address | Robinson House
Grant Street
Horden
SR8 4DD
Carried Out On | 05/05/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Attending to issues on site for no heating or hot water - Working alongside Graham Parker to resolve issues.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-46855
SECTION 3: Report
PN 5/5/24 Attended to assist with Graham Parker Releasing air from the stem and checking bungalows were getting heat as they are on district heating Time started 09.30 Time finished 12.24

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-46855
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46855
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46855
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46855
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46855
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes