## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Darcy Street
Langley Park
Durham
DH7 9YP
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-46869
DATE OF REPORT: 10/05/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-46869
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 2 Darcy Street
Langley Park
Durham
DH7 9YP
Carried Out On | 10/05/2024
Survey Completed By | Billy Bell
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-46869
SECTION 3: Report
Mandatory Images Required (Must Complete Y or N/A) Existing Boiler - Y Existing Cylinder & Tanks - N/A Existing Flue Run - Y Existing Controls- Y Stop Tap - Y Gas Meter- Y Distribution Board - Y Existing Condensate - Y New Condensate Termination- N Existing PRV Termination - Y New PRV Termination - Y Smoke Alarms - Y Co2 Alarms - Y Existing poor condition radiators – N/A Scaffolding location - N/A Information Required (Must Complete all fields) Property Type (Flat / Bungalow / House) –House Existing Loft insulation thickness in mm (Example “200mm”) - 250 Smoke Alarm Locations - Landing/Living room Co Alarm Location - Landing Distribution Pannel Location - Bottom stairs Existing heating control location - Hall Existing supply (Natural Gas / LPG / Oil) -NG Solar Thermal (Yes / No) No Existing Boiler Make & Model - Vaillant etc etc 28 Existing Boiler serial number - Existing Boiler Location - Landing cupboard Existing Boiler Type (Combi / Heat Only / System boiler) - Combi Install Type (Full Heating / Conversion / Boiler Replacement) - Boiler replacement New Boiler Location - Landing cupboard Stand off kit required - No New Flue (Horizontal / Vertical) - Vertical Flue Materials Required - 4 Extensions, 2 45degree Scaffolding required - no Gas Meter location (Internal / External) - External front Stop tap location - kitchen unit Stop tap working (Yes / No) - yes Existing condensate termination location - New Condensate termination location - External rear Condensate materials required - overflow connect on Condensate Pump (Yes / No) - no Pressure relief termination location - External rear Number of Bathrooms - One Number of thermostatic Showers - One Number of electric Showers - None Total number of existing radiators - Six Current Cooker (Gas / Electric) - Electric Current Fire (Gas / Electric) – None Any Other notes Valves & Pipework Existing Pipe work size (8mm / 10mm/ 15mm) - 10mm Existing Pipework type (Copper / Speed fit / Hep) -Copper Is Speed fit / Hep Barrier protected (Yes / No) - NA Existing Rad Valve Sizes (8mm / 10mm / 15mm) - 10mm Existing TRVS installed (Yes / No) - yes Existing double lock shield radiator (Yes / No) - yes Talon Trunking requirements – None Only complete radiators if existing are poor condition or a full heating replacement Radiators Existing Lounge Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Kitchen Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Hall Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Dining Room Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bathroom Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 1 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 2 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing Bed 3 Rad Size - Room Length x Width x Height (In meters) - Max New size if applicable - Existing other Rad Size (state location) - Room Length x Width x Height (In meters) - Max New size if applicable -

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-46869
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46869
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46869
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46869
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-46869
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes